## AMESBURY
AMESBURY FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No
1 | Electric immersion heater | 120L 2 x 3kw elements | Gledhill | ASL0005 | 6/5/2011.asl direct 120
1 | Heating boiler |  | Keston | C 90 | 90c0320
1 | Heating expansion vessel |  | Zilmet | 20013 80 litre | 001227
1 | HWS expansion vessel |  | Aquasystem | 12 litre AAFCMOOW01JA1 | 2556830
1 | Primary pump 1 |  | Wilo | S40/4 | 2080040
1 | Primary pump 2 |  | Biral | Redline lx 502 240v | 1001

## BOWERHILL WORKSHOP
BOWERHILL VEHICLE WORKSHOPS
Quantity | Description | Ref No | Make | Model | Serial No | Location
2 | Boiler |  | Ideal | Harrier GT |  | Main Basement Plant Room
2 | Burner |  | Nu-Way | NOL20-23 TIS 150 |  | Main Basement Plant Room

## BRADFORD ON AVON
BRADFORD ON AVON FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location
1 | Boiler |  | Worcester | Greenstar Combi | Kitchen

## CALNE
CALNE FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location
1 | Combi boiler |  | Vaillant | Eco tech plus 831 | Vuwgb316/3-5 | Kit Room / BA ROOM
2 | Gas fired floor standing space heater |  | Temcana | kestrel 55 | K554571 / k554570 | Appliance Bay

## CHIPPENHAM
CHIPPENHAM FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location
2 | DHW Secondary Pumps |  | Biral | W14 / Nrw 35 | 0599 / 83095 | 1 x grundfoss UPS 15-50 1 x Biral W14
1 | Expansion Vessel |  | Cimm | ere ce 150l | 12/2004 | no pressure in vessel will need repressurused or replacement
1 | Heating Pump |  | ITT | flc 50-5 | 20110413
1 | Heating pump no 2 |  | Grundfoss | UPS 50/60/4 | PC 1150 | Boiler House
1 | Lockinvar Water Heater |  | locninvar | 300ce | yc10128l3 | Boiler House
2 | Potterton FS70 Boiler |  | Potterton | Fs 70 | c10233079 / 80 | Boiler House
1 | Pressure Set |  | Boss | mx1 3hl | 08117953
1 | Shunt pump |  | Biral | W14 / Nrw 35

## CORSHAM
CORSHAM FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location
1 | Combi boiler |  | Vaillant | Eco tech plus 824 | 130041708n8 | Equipment room
2 | Space heater |  | Rinnai | RHFE'1004t | 0706 000048 / 0706 000002 | Appliance Bay

## CRICKLADE
CRICKLADE FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location
2 | Space Heater |  | Temcana | Kestrel 250 |  | Appliance bay
1 | Space Heater |  | Temcana | Kestrel |  | Office
1 | Space Heater |  | Rinnai | RFME 1004T |  | Meeting Room

## DEVIZES FS
DEVIZES FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location
1 | Gas fired boiler |  | Worcester | Greenstar 30 cdi |  | Kitchen

## DEVIZES TDC
DEVIZES TRAINING & DEVELOPMENT CENTRE
Quantity | Description | Ref No | Make | Model | Serial No | Location
1 | Gas boiler |  | Broag Remeha | Quinta Pro 30 | 1217004584180 | Main plantroom
1 | Gas fired water heater (370 ltr - 40kw) |  | AO Smith | SGE 40 G (0222) | 122304765901001 | Main Plantroom
1 | Heating Expansion Vessel |  | Boss | 18/1.5 | 44050 | Main Plantroom
1 | High level space heater |  | Powermatic | NVx30/F/1 | NX3012C047 | Appliance bay
1 | Pressurisation Unit |  | Boss | AX1-5E (code 03510061) | B 0612 9387 | Main Plantroom

## MALMESBURY
MALMESBURY FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location
1 | Combi Boiler |  | Potterton Promax Combi HE plus |  |  | Wash Room - BA room
2 | Space Heater |  | Tecana Kestrel 55 gas conector |  |  | Appliance Bay

## MARLBOROUGH
MARLBOROUGH FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location
1 | Boiler |  | Hoval
2 | Space Heater |  | Powermatic |  |  | Appliance bay

## MERE
MERE FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location
1 | Boiler |  | Remeha | Avanta 28c |  | BA Room
2 | Space Heater |  | Vulcana | Temcana Kestrel 55 |  | Appliance Bay

## POTTERNE
Potterne
Quantity | Description | Ref No | Make | Model | Serial No | Location
1 | Cold Water Expansion Vessel |  | 12L |  |  | Comms Plant - bungalow
1 | Controls |  |  |  |  | Comms Plant
1 | Gledhill Calorifier |  | Gledhill Unvented water heater |  |  | Comms Plant - bungalow
1 | Heating Expansion Vessel |  | Hot 8ltr |  |  | Comms Plant
1 | Oil Boiler |  | Potterton | Baxi NXR2 C27 |  | Comms Plant - bungalow
1 | Pressure Set |  | Boss |  |  | Comms Plant - bungalow
1 | Pump |  | Grundfoss primary pump UP15-50 |  |  | Comms Plant - bungalow
1 | Riello 40 GS Burner |  |  |  |  | Comms Plant - bungalow
1 | Condense Pump |  |  |  |  | Stores Boiler
1 | Expansion Vessel |  | 50Ltr |  |  | Stores Boiler
1 | Oil Boiler |  | Grant | Vortex utility Rirllo |  | IT Stores Boiler
1 | Pressure Set |  | Mikrofill |  |  | Stores Boiler
1 | Pump |  | grundfoss primary heating pump UPS 25-55 |  |  | Stores Boiler

## RAMSBURY
RAMSBURY FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location | Annual Cost
1 | Combi boiler |  | Rehema | Avanta exclusive 28 | Kgg1245687aa-sj3 | Accessible Toilet | 59.75
1 | Warm air unit |  | Reznor | Euro x13008 |  | Appliance Bay | 135.5

## ROYAL WOOTTON BASSETT
ROYAL WOOTTON BASSETT FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location | Annual Cost
2 | Space Heater |  | Powermatic | NV 25/F/1 |  | Appliance Bay | 245.25

## SALISBURY
SALISBURY FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location | Annual Cost
1 | Water heater |  | Lochinvar | CHA 500 G CE |  | Plant Room | 117.75
2 | Boiler |  | Broag | Quinta Pro 65 NG |  | Plant Room | 70
1 | Pump |  | Grundfos | Magna 3 D 40 - 40 F TWIN |  | Plant Room | 2.8
3 | Pump |  | Grundfos | Magna 3 D 32 - 40 TWIN |  | Plant Room | 8.4
1 | Pressure Unit |  | Mikrofil 80 + expansion vessel. |  |  | Plant Room | 11.55

## STRATTON
STRATTON FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location | Annual Cost
2 | gas fired boilers Combustion Engineer |  | Hamworthy | Purewell 60 Auto |  | Main Plantroom | 110.5
2 | Hws secondary pumps |  | Grundfoss | UPS 15 50 + UP 20 15 |  | Main Plantroom | 5.6
1 | Boiler primary heating pumps Twinset |  | Grundfoss | UMC 65 60 |  | Main Plantroom | 5.6
1 | Cold water booster pump expansion vessel |  | Varem | 40 ltr expansion vessel @ 3 bar | 26592 | Main Plantroom | 11.55
1 | Cold water booster set pump |  | Lowara |  |  | Main Plantroom | 5.6
1 | Heating expansion vessel |  | Varem | 100ltr expansion vessel @ 2.5 bar | 17534 | Main Plantroom | 11.55
1 | Heating pumps |  | Grundfoss | UPS 15 60 |  | Main Plantroom | 2.8
1 | Heating pumps twinset |  | Grundfoss | UPC 40 60 Model A |  | Main Plantroom | 5.6
1 | Lochinvar Water Heater |  | Lochinvar | CE 200 AUTO | DB8820105 | Main Plantroom | 52.5
| Grundfoss 4 x circulation pump/2 x DHW secondary pumps/2 x Primary heating pumps | [5 empty] | 0

## SWINDON
SWINDON FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location | Annual Cost
1 | Water heater |  | Andrews | 65/173 |  | Plant Room | 129.75
2 | Boiler |  | Oertli |  |  | Plant Room | 87.5

## TROWBRIDGE
TROWBRIDGE FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location | Annual Cost
2 | Potterton Commercial EC Three |  | Potterton | 170E | 10083886 + 10083885 | Main Plantroom | 164.75
1 | Gas Safety Shut Off Valve |  | Banico | ZEV65 | RP 2.5 " | Main Plantroom | 11.55
1 | Heating Expansion Vessel |  | Varem | Maxivarem LS 200ltr @ 2 bar | Cod US 200 461 | Main Plantroom | 11.55
1 | Heating Primary Pumps Twinset |  | Grundfoss | UPS 50 60 2 F |  | Main Plantroom | 2.8
1 | Heating Pump |  | Biral | Redline L 655 - Biral AG Primary hot water secondary |  | Main Plantroom | 2.8
1 | Hot Water Heater Gas fired |  | Andrews | 65 173 | HJ15534802 | Main Plantroom | 52.5
1 | Hot Water Secondary Pump |  | Biral | AG CH665 |  | Main Plantroom | 2.8

## WARMINSTER
WARMINSTER FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location | Annual Cost
2 | Reznor (high level) Space Heater |  |  |  |  | Appliance Bay | 226
1 | Combi Boiler |  | Worcester | Greenstar 24i Junior mk IV |  | Male Toilet | 35

## WESTBURY
WESTBURY FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location | Annual Cost
1 | Boiler |  | Remeha | Advantage Plus |  | Male Toilet | 65.25
2 | Space Heater |  | Vulcana | Temcana Kestrel 55 |  | Appliance Bay | 70

## WESTLEA
WESTLEA FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial No | Location | Annual Cost
1 | Control Panel | Plant control panel |  |  |  | Plantroom | 17.5
1 | Fan assisted heater | Fan heater | SPC Belgravia |  |  | Under stairs | 11.55
2 | Heating pumps | Heating pumps | Grundfoss | UPC 50/120 | PC 0533 | Plantroom | 5.6
1 | Hot water boiler | BA Room | Santon | R25 |  | B A Room | 17.5
1 | Hws gas fired water heater | Main Plantroom | Andrews | 65 173 PP GB | BD 6133897 | Boiler room | 63.5
2 | No 1 Gas fired condensing boiler | Main Plantroom | Potterton | FS 130 | Cod WHL431120772 |  | 105
1 | Pressurisation unit | Heating pressure set | Smedegaard | SFU 18 + 2 x 25Ltr expansion vessel | 35557 | Plantroom | 11.55
1 | Shunt pump | Boiler no 2 shunt pump | Grundfoss | UPS 40/50 F 240v | PC 1212 | Plantroom | 2.8
1 | Shunt pump | Boiler no 1 shunt pump | Grundfoss | UPS 40/50 F 240v |  | Plantroom | 2.8

## WILTON
WILTON FIRE STATION
Quantity | Description | Ref No | Make | Model | Serial | Location | Annual Cost
2 | Space heaters |  | Temcana | Kestrel 55 | K552103 / k554500 | Appliance Bay | 245.25
1 | Combi boiler |  | Remeha | Avanta plus 28c | Kfl121320616aa-kb7 | Accessible WC | 35